## Sheet1
10.5211 | 720 | 68.4342 | 2448 | 47.655 | 0.019467 | 0.13237 | 219801.11 | 2943.2393
18.4619 | 1280 | 69.3321 | 3264 | 63.54 | 0.019467 | 0.1765 | 219801.11 | 2943.2393
| 1.7778 |  | 1.3333 | 1.3333 |  | Degrees per pixel |  | 219801.11
1.7548 | [7 empty] | 0.0032808
721.1323
|  |  |  | 74.68 | 2448
2448
32

## Sheet2
As measured | photo | video | aspect ratio | photo | video |  |  | pixel size | 1.471 | micrometers
w | 11.7 | 9.5 | w | 4 | 16 |  |  |  | 2.942
h | 9.1 | 5.75 | h | 3 | 9
| 1.2857 | 1.6522 |  | 1.3333 | 1.7778 |  |  | sensor size | w | 4.8 | mm
[9 empty] | h | 3.6 | mm
measured at 3.5 inches | 3.5 | inches | resolution | photo | video
measured at 3.5 inches | 88.9 | mm | w | 3264 | 1280 | 2560
Eachline = inchest | 0.34375 | inches | h | 2448 | 720 | 1440 |  | focal length |  | 1.752 | mm
| 8.7312 | mm
As measured |  |  |  | 1.3333 | 1.7778
so, in inches: | photo | video |  |  |  |  | video resolution | 2.07 | MP
w | 4.0219 | 3.2656 |  | 4801.344 | 1882.88
h | 3.1281 | 1.9766 |  | 3601.008 | 1059.12
[5 empty] | Guess at sensor size |  |  |  |  | 1153
in mm | photo | video |  |  | Assumes same pixel size |  |  |  |  | 1229
w | 102.1556 | 82.9469
h | 79.4544 | 50.2047 | [6 empty] | 1153
[9 empty] | 1191 | pixels focal length for video, from http://stackoverflow.com/questions/34963337/iphone-6-camera-calibration-for-opencv
[9 empty] | 1751.961 | in micrometers
|  |  | Calculated FOV based on sensor size & focal length | [5 empty] | 1.752 | in mm
|  |  |  | photo | video
|  |  | w | 107.7576 | 56.5039
I know FOV Video is 52 degrees by 30.8821 degrees from previous experiments |  |  | h | 91.5657 | 33.6367
Known FOV | photo | video
w | 63.54 | 52
h | 47.655 | 30.8821
| 1.3333 | 1.6838
So, from FOV we would expect my experiment to yield:
Expected: | photo | video
w | 110.1118 | 86.7189
h | 78.5211 | 49.1114
FOV from calcs experiment | photo | video
w | 59.7594 | 50.0198
h | 48.1573 | 31.5358